# BCA Protein Assay

# For quantifying protein concentration of a sample using Pierce BCA Kit

Use provided 0.2% BSA for creating a standard curve:

Dilute 1:2 using lysis buffer

# Label tubes (1.5 mL Eppendorf) for standards.

Final Conc ug/mL		Volume 0.1% BSA		Volume buffer

| Standard (ug) | Volume 0.1% BSA | Volume buffer |
| --- | --- | --- |
| 0 | 0 | 20 |
| 2 | 2 | 18 |
| 4 | 4 | 16 |
| 6 | 6 | 14 |
| 8 | 8 | 12 |
| 10 | 10 | 10 |
| 15 | 15 | 5 |

Label tubes for samples.

Keeping all protein on ice throughout, use 3 uL/ sample + 17 uL Lysis Buffer for a total volume of 20 uL.

Add diluted BSA to standard tubes last, before adding working reagent.

To each sample and all standards, add 1 mL Working Reagent (comprised of [1 mL Reagent A + 20 uL Reagent B] x number of samples + 10% extra for error). Mix well.

# Place tubes in 37° C incubator for 30 minutes to react.

# Cool samples to room temp.

Aliquot 200 uL from each tube to a well of a clear, 96-well plate. This can be done in triplicate if desired.

# Read on BCA program on GloMax plate reader at λ = 562 nm

Use values from BSA standards to create standard curve. Can be done in Excel, Statmost, or GraphPrizm. Seeking R2 value as close to 1 as possible.

Use the resultant y=mx+b equation to quantify the amount of protein in each sample. Dividing by 3 will give you your protein concentration per uL.