CasX GFP-Targeting gRNA IVT

Connor Tsuchida, Doudna Lab

July 8, 2019

PCR Amplify Scale Up

- Notes

  - Going to do eight 25uL PCRs for each gRNA

- Q5 PCR (1x)

  - 1 uL (10uM) Oligo 1 Primer

  - 1 uL (10uM) Oligo 2 Primer

  - 1 uL (10uM) Oligo 3 Primer

  - 0.5 uL (10mM) dNTPs

  - 5 uL Q5 Buffer

  - 0.25 Q5 Polymerase

  - 16.25 uL DEPC

- Q5 PCR Amplify (x8) (plus 1.1x for pipette error) for each sgRNA

  - 8.8 uL (10uM) Oligo 1 Primer

  - 8.8 uL (10uM) Oligo 2 Primer

  - 8.8 uL (10uM) Oligo 3 Primer

  - 4.4 uL (10mM) dNTPs

  - 44 uL Q5 Buffer

  - 2.2 Q5 Polymerase

  - 143 uL DEPC

- PCR Conditions

  - 30s, 98C (inital denaturing)

  - 35 cycles

    - 10s, 98C (denaturing)

    - 20s, 51C (annealing)

    - 20s, 72C (extending)

  - 2 min, 72C (final extension)

  - Hold at 4C

- Can freeze at -20C here

- Optional: run on an agarose gel to check PCR product size

IVT

- Notes

  - Making three 1mL IVT reactions for each sample

  - Don’t need to clean up PCR product, just split in 3 for IVTs

  - 25uL x 8 tubes = 200uL

  - 66.6 uL into each IVT

- For each 1 mL IVT reaction

  - 100uL 10x IVT Buffer

  - 200uL 5x NTPs

  - 100uL T7 Polymerase

  - 40uL RNase Inhibitor

  - 66.6uL (15ug) DNA Template

  - 493.4uL DEPC

- Place on 37C heat block (RNase Free, Gogo's bench), overnight

DNase Treatment

- Optional: Take 10uL sample pre-DNase, mixed with 10uL 2x Formamide Dye for analytical gel

- Added 100uL 10x DNase Buffer to each 1 mL reaction

- Added 50uL RNase-Free DNase to each 1 mL reaction

- Returned to RNase Free 37C heat block (Gogo's bench), 30 min

- Spin down 4C, 8 min, 15,000 g to pellet pyrophosphate

- Move 3mL to new tube. Add 3mL 2x formamide dye

- Keep on ice

- Optional: can keep frozen at -80C

- Optional: Take 10uL sample post-DNase, mixed with 10uL 2x Formamide Dye for analytical gel

Gel Purify

- Cast large 15% Urea-PAGE

  - 250mL 15% Urea-PAGE

  - 250uL TEMED

  - 833uL 30% APS

- Pre-run, 25 W, ~30 min or until metal plate is warm

- Heat denature samples at 65C, 10 min

- Loaded each sample into separate wells

- Run at 45 W, ~3-4 hours

- Take gel out and sandwiched between seran wrap

- Use UV shadowing to identify RNA bands

- Highlight bands with sharpie

- With clean razor blade, cut out bands and place in 50mL Falcon Tube

- Crush gel pieces with RNase Free serological pipette

- Added 14.5mL DEPC, 500uL NaOAc

  - Want 5mL per 1mL IVT

  - 1/30 NaOAc

- Rock at 4C, overnight

RNA Elution

- Filter sample through 0.22um Corning Filter into 50mL tubes

  - On ice

- Move samples to 15mL Amicon 3kDa MWKO Concentrators

- Centrifuge 4C, 4000 rpm, ~1 hour

- Want to get down to 1mL each

- Split each into 3 eppendorfs with 333uL

- Add 0.3 volumes 3M NaOAc (100uL) to each sample

- Add 3 volumes chilled 100% EtOH (1mL) to each sample

- Chill in -80C at least 2 hours

- Centrifuge samples @ 4C, 30 min, 20,000 rcf

  - Do Fast Temp before to make sure it's at 4C as soon as samples go in

- Pipette off supernatant

- Add 200uL 70% EtOH to wash pellet

- Combine with other pellets of the same sample

- Centrifuge @ 4C, 10 min, 20,000 rcf

- Pipette off supernatant

- Repeat

- Place eppendorf with pellet on 37C heat block, lid open, kimwipe on top 30-60 min

- Resuspend each sample pellet in 200-300uL DEPC total

- Nanodrop

- Labeled and put in RNA box at -80C