### Cryopreservation protocol

by Dr. Jana Hinners (jana.hinners@ed.ac.uk)

### Preparation 1 day before Cryopreservation:

- Set incubator to 4 degrees

- Fill Mr Frosties with IPA, place in incubator

- Label all cryovials

- Prepare media with 24% DMSO (=CPA) – depending on how dense the cultures are, the dilution with CPA-media can be altered, the final DMSO concentration in the cryopreserved samples should be 12 %

### On the day:

- Use cultures in mid to end log phase

- place all samples in 50 mL falcons, concentrate them (1000 rfc, 5 min), remove upper volume (depends on how many replicates you want to make, 1 cryovial fits 1.8 mL)

- mix sample 50:50 (sample : CPA stock solution), final DMSO concentration should be 12 %

- Keep light intensity during treatment low

- Incubate samples for 15-30 min with CPA media, during this time frame replicates are transferred into single cryovials (I find it useful to handle 18 cryovials at a time, since they fit into 1 Mr Frostie)

- Vials then placed in a prechilled (4ºC) Mr. Frostie and stored at -80 for min. 3 hours (allows for cooling of ca. 1°C per minute) Do not close the Mr. Frostie too strong or it is hard to get the cap off once it’s frozen.

- Cryo vials are then placed in liquid nitrogen for long-term storage (allows for storage temperature lower than -137 ºC) – the Nalgene boxes we have do not fit 100 Nunc Cryovials, the lid doesn’t close, instead leave 1 column and 1 row at the edge free)

- Success of cryopreservation can be controlled using 1 replicate pulled out after at least 24 hours in liquid nitrogen

Thawing:

- Thawing in a 37oC water bath until all water crystals disappeared (ca. 2 min)

- Dilution of samples in 45 mL (fresh media) to dilute CPA

- Falcon tubes places at 4oC in the dark for 12 hours

- Afterwards supernatant (ca. 25mL) removed and

- 20 mL of settled cells transferred to flask or well and inoculated at very low light intensity  (2 photons) at 20oC

- after 12 h of light incubation samples light intensity increased to standard conditions