Vector Elite Immunohistochemistry Run Report

Ref #: ________       Date: ________________       		 Investigator: _________________

Day 1

Deparaffin/Rehydrate: (5min each): 2X xylene, 2X100%ETOH, 3% H2O2 in MEOH 10min, 95%ETOH, 75%ETOH, 50%ETOH, 2X water

Retrieval: 1X Citrate Buffer pH6.0  25 min in microwave in plastic coplin (with small rounded lid). Cover top edges of slide, lid loose, place in water in 400 ml beaker 7min 50%power. Remove from MW after 7 min and complete on bench in hot water. (Note: At least 60 ml citrate buffer.  Water in beaker a about 1cm below the rim of coplin jar)

Prep: Working ONE slide at a time, quick dip H2O, transfer to humidity chamber, and equilibrate in Buffer [TBS-0.1% tween] (fill slide)   5 min. RT

Tap off; dry around tissue with folded gauze; do not let tissue dry out; do not touch tissue

Avidin: 6 drops/ml TBST apply 20 min RT;   rinse with TBST, dry around tissue  							(Note:  reagent volumes 50-200 ul/slide  depending on size and number of tissues)

Biotin: 6 drops/ml TBST apply 20 min RT;   rinse with TBST, dry around tissue

Serum Block: 30 min RT 2% (20ul normal serum/ml TBST) match to secondary species

Prepare Primaries:

Primary species________________	Secondary species_________________

Antibody 1: _________	    Antibody 2: ___________     Antibody 3: ____________   Antibody 4: _____________

Company: _ _________	    Company:   ____________    Company:   ____________    Company: _______________

Dilution: ____________	    Dilution: ______________     Dilution: ______________    Dilution: ________________

*Dilute primaries in “green juice” antibody diluent

Slide Labels and Results:

__________________________________________   ______________________________________________

__________________________________________   ______________________________________________

__________________________________________   ______________________________________________

__________________________________________    _______________________________________________

__________________________________________    _______________________________________________

Blot: excess serum from slides around tissue; do not touch tissue; do NOT rinse off serum

Apply primary antibody: 50 -150 ul; use homemade plastic bag Coverslips

Antibody Incubation: O/N 4C

Day 2

Wash: TBST for 5 min   at RT.   Dry slide around tissue

[Make Secondary (5ul biotinylated second + 15ul serum /ml buffer) and ABC (20ul A + 20ul B/ ml buffer) (ABC needs 30 minutes to develop)]

Apply secondary:  30 min RT,

Wash: TBST for 5 min RT.  Dry slide around tissue

Apply ABC Reagent 30 min RT,

Wash: TBST for 5 min.  Hold in buffer until development (in humidity chamber)

DAB Stain: Make Immpact DAB (1 drop DAB /ml kit diluent). Develop slides one at a time under microscope. Rinse in water. Leave in clean water until counterstained.

Counterstain: water, hematoxylin 10 sec., water rinse clear, clarify 30sec., rinse clear, blue 1min, rinse clear, serial dehydration 5 min each.  From second 100% go to Xylene 2X  3 min.

Mount: in Shandon Mount