Extraction of Cyanobacterial Slime from Community Samples and Subsequent Analysis via GC-MS

Kelsey Cremin, Jerko Rosko, Sarah J.N. Duxbury, Mary Coates, Lijiang Song, Orkun S. Soyer

NOTE: This protocol is for extraction of slime (a.k.a exopolysaccharides, EPS) from a filamentous cyanobacterial microbial community (from a freshwater environment) that forms extensive biofilms and granular structures.1 For other cyanobacterial samples, the protocol can be adapted / simplified.

This protocol is based on the slime extraction method described in Plude et al. 19912, and the EPS extraction method described in Olenska et al. 20213 (therefore this protocol uses these original papers’ definitions of EPS and slime). Both papers perform cyanobacterial slime/EPS extraction and perform GC-MS based analytical studies - via hydrolysis - on the extracts, however, details of some of the preparation and analysis steps are limited. Here, elements of hydrolysis method descriptions from the above two papers have been combined with a more rigorous and hopefully total hydrolysis method4, so to further optimise this process.

The protocol also contains steps for preparation of a selection of monosaccharide standards for analysis, to be used as comparison against the samples and treated using the same GC-MS based analytical methods.

Associated protocols / media sheets:

DSMZ_Medium_BG11+_1593 (omitting Vitamin B12 and replacing with full vitamin mix supplement as described below in Table 1)

OSP_35: This protocol.

Table 1. Full vitamin mix, prepared as a one thousand times concentrated stock, as referenced in Duxbury et al. (2023)1

| Vitamins | g/L (stock) | g/L (medium) | g/mol | Mol/l (medium) |
| --- | --- | --- | --- | --- |
| Biotin | 0.020 | 0.00002 | 244.31 | 8.2E-08 |
| Folic Acid | 0.020 | 0.00002 | 441.40 | 4.5E-08 |
| Pyridoxin HCl | 0.100 | 0.0001 | 205.63 | 4.9E-07 |
| Thiamine HCl | 0.050 | 0.00005 | 337.26 | 1.5E-07 |
| Riboflavin | 0.050 | 0.00005 | 376.26 | 1.3E-07 |
| Nicotinic Acid | 0.050 | 0.00005 | 123.11 | 4.1E-07 |
| D-Ca-Panthotenate | 0.050 | 0.00005 | 238.27 | 2.1E-07 |
| p-Aminobenzoic Acid | 0.050 | 0.00005 | 137.14 | 3.6E-07 |
| Vitamin B12 | 0.001 | 0.000001 | 1355.37 | 7.4E-10 |
| Lipoic Acid | 0.050 | 0.00005 | 206.33 | 2.4E-07 |

PART A: Slime/EPS extraction

- Use mature cultures (at least 35 days old, grown in BG11+ with full vitamin mix – see above) and record culture origin and date of initiation. In our experience, an approximate volume of 200 mL of culture produces dried slime with a mass of 20-30 mg, therefore greater initial volumes of culture are advised.

- Once grown, the cultures will be centrifuged at 4000 x g for 20 minutes at 4oC to pellet the cells. Plude et al. believes the pellet will contain the adherent slime, whilst Olenska et al. work on the principle that the EPS exists in the supernatant - therefore, we suggest that both should be kept (from the same cultures) and analysed concurrently.

  - Culture Supernatant slime/EPS. Following centrifugation – in step 2 - the supernatant will be carefully removed into a separate container. Filter the supernatant through a Nuclepore 5-m pore size filter, then a Gelman 0.45 m membrane filter and store frozen at -4oC until lyophilised, and used for analysis => this sample is called “Culture Supernatant” below.

- Next, any slime/EPS will be extracted from the remaining cell pellet, using an adapted method inspired by both Plude et al. (1991)2 and Nakagawa et al. (1987)5.

  - After centrifugation – in step 2 - the culture pellet volume will be approximately measured and resuspended in 30 times the pellet volume of ddH2O (vortex vigorously). For this dilution step, we use a centrifuge tube which has volume markings, so if the pellet occupies 1 mL of the tube, then add 30 mL of ddH2O. The suspension is to be stored overnight at 4oC. Overnight the slime should separate from the cell pellet and enter the ddH2O.

  - Next morning, centrifuge the cell pellet solution again (4000 × g, 20 minutes, 4oC), to pellet the cells. Remove this supernatant and pass into sterile glassware, this can be stored at 4oC whilst the rest of the slime is extracted – note that this supernatant contains the slime according to Plude et al. (1991), while in our case we combine it with supernatants obtained from further treatment of the cell pellet, as explained next.

  - The cell pellet (which can measure approx. 5 mL for a 200 mL culture) is suspended in 25 mL of ddH2O (or more, scale accordingly with the initial culture size).

    - The samples were then vortexed at max for 2 minutes, split between twelve 2 mL centrifuge tubes and centrifuged as 15,000 × g, for 15 minutes in a benchtop centrifuge. This sheds a portion of the slime and the fragments enter the supernatant. The supernatant was extracted from each tube, pooled together, and each pellet was resuspended in fresh 1.5 mL of ddH2O.

    - This process was repeated a total of 5 times, collecting the supernatant with each iteration. By the third iteration, the supernatant – for our samples - had a slight blue colour, possibly from cellular photopigments being extracted as well.

- Further slime extraction from pellet. Following on from the last cycle of step (c) the remaining pellets were then collected – using ddH2O - into one falcon tube, and 10 mL of ddH2O was added to further loosen the pellet. The cyano pellet solution was then sheared, by pipetting up and down into a 10 mL syringe through a 18G needle 20 times, this was followed by repeating the shearing steps with a 25G needle, also 20 times. This is hoped to remove the final remaining slime sheaths from cyanobacteria filaments. The cyano pellet was centrifuged down again, and the supernatant collected and added with the other supernatant solutions collected in the previous steps (b) and (c). The remaining cyano pellet is kept for further analysis => this sample is called “Culture cyano pellet” below.

- Following the iterations of slime extraction, this gave a final volume of 90 mL of supernatant containing slime, to which 45 mg of CaCl2 was added (final conc. of 500 mg/L CaCl2). This was mixed and left overnight in the fridge (4oC).

- On the next day, the solution (from step 4) is centrifuged at 15,000 × g for 30 minutes, so to pellet out the slime. The supernatant -  a green-tinged transparent gelatinous material in our case -  was removed and stored sterile in the fridge for further analysis if wished. => this sample is called “Culture slime supernatant” below.

- The “slime pellet”, from step 5, with a final volume of less than 1 mL is also stored => this sample is called “Culture slime pellet” below.

- Prior to GC, the Culture supernatant, Culture cyano pellet, Culture slime supernatant and Culture slime pellet fractions are all lyophilised.

PART B: Preparation of samples (and known standards) for GC-MS

Standards for known monosaccharides can be prepared, so that their GC-MS spectra can be compared to that of actual sample. Monosaccharide standards will all be of HPLC grade and will be prepared to 1 mg/L sample, through a serial dilution. Two control samples (‘blanks’), one consisting of fresh BG11+ growth media, and one of ddH2O were included in the GC-MS analysis.

Choice of monosaccharide standards should be project specific, but here we focus on the following monosaccharides based on previous studies of cyanobacterial slime/EPS:

- Glucose,

- Xylose,

- Galactose,

- Mannose,

- Rhamnose,

- Galacturonic acid,

- Galactonate

- Gluconarate

- D-Fructose,

- L-Fucose,

- Adonitol,

- Fumaric Acid,

- L-Aspartic Acid,

- L-Arabinose,

The samples to analyse come from the different fractions resulting from the extraction step – part A – listed above:

- Media control (BG11+ with vitamin mix),

- ddH2O water control,

- Culture Supernatant,

- Culture cyano cell pellet,

- Culture slime supernatant, and

- Culture slime pellet.

Sample/control prep for GC:

- Hydrolysis (*see also below note). Acid hydrolysis will be used over acidic methanolysis as total hydrolysis is desired, and a more thorough hydrolysis can be achieved with the harsher acid hydrolysis method. The hydrolysis method is based on Becker et al. 2021.4 Hydrolysis consists of two stages.

  - 40 mg of each standard, control blank, and the lyophilised culture fraction samples are weighed into separate clean glass vials. In the first stage, 1.5 mL of 72% aq. H2SO4 is then added to each sample. This is left stirring under room temperature for 2 hours.

  - In the second stage, 2 mL of H2O is added to each mixture and heated in an oven at 80oC for 1 hour. The hydrolysis solution is then cooled down in an ice bath and stored at 4oC overnight.

  - The hydrolysed sample is neutralised to pH 7, using Na2CO3 until CO2 evolution subsided. This will require a considerable amount of Na2CO3 and will involve salt formation.

  - The resulting pH 7 solutions are then filtered through Gelman 0.45 m filter into new test tubes.  Hydrolysates can then be dried under flowing nitrogen gas. In this set up, single branching capillaries from a line splitter was placed into each test tube where it sat about the liquid level, the line then connected to a nitrogen cannister, which was set to allow a steady flow of nitrogen across the sample. The samples dried to completeness in 30-60 minutes with this set up.

- Trimethylsilylation. This trimethylsilylation method has been originated in Becker et al. 2013.4 The dried hydrolysates are dissolved in 1.5 mL of pyridine (Scientific Laboratory Supplies Ltd, W296600, 99+%), shook by hand for 30 seconds, and then left to incubate at room temperature for 30 minutes.

  - Then 0.5 mL of 1-(Trimethylsilyl)imidazole (1-TMS-imidazole, Merck, A12512.06, 97%) is added, and the samples are incubated in a shaking incubator at 60oC.

  - After cooling at room temperature, the pyridine needs to be fully removed. This is done by drying with nitrogen gas, as described above. Due to safety concerns and the unpleasant odour of pyridine, it is highly encouraged to perform this in a chemical fume hood with outside extraction. Drying will again take 30-60 minutes.

  - To the dried compounds, add 2 mL heptane (>99.3%, LC grade) and dry under nitrogen again. Repeat the addition and drying of heptane several times until the samples no longer smell of pyridine.

- Concentrations for GC. Each sample contains 40 mg of the species of interest; therefore, each sample is dissolved into 8 mL of hexane (>99%, LC grade, solvent used for GC), thereby creating 5 mg/mL master stocks.

  - From this master stock, take 1 L and dilute into hexane to give a total volume of 1 mL in brown glass GC vials – resulting in final concentration of 5mg/L. NOTE: There may be a precipitate left over from the silylation – step 2, above - at the bottom of the vials. This should be avoided and only the solution should be taken as the solution only contains the monosaccharides.

  - This creates a set of 5 mg/L working stocks, which can be taken directly to the GC. Smaller sample concentrations than this are difficult to interpret as the signal would be too low and it is feared that some compounds will fall within the noise level. NOTE: these samples should be produced close to the actual GC-MS date, if not, store the trimethylsilyl (TMS) derivatives moisture-sealed and in a -20oC freezer where they will remain stable for several months.

- GC-MS conditions. All GC-MS used in experiments described was performed on an Agilent 7890GC coupled with 5977B MSD detector.  An Agilent HP-5MS with 5% Phenyl Methyl Silox column was used (30 m × 250 m × 0.25 m). The initial column temperature was set to 150oC, held for 2 minutes, and increased at a rate of 8oC/min to 250oC, then held for 17.5 minutes. Helium was used as a carrier gas (1.2 mL/min). Front inlet temperature was 275°C, transfer line temperature was 280°C, MS source temperature was 230°C, and MS quad temperature was 150°C. An injection volume of 1 L was used, with an injection dispense speed of 6000 L/min. The total run time was 32 minutes. Electron ionisation was used, with a MS scan range 50-750 m/z.

*** Hydrolysis NOTE***

In our experience it is possible that some known monosaccharides fail to derivatise with the above hydrolysis method. Thus, an alternative hydrolysis method would be to use HCl instead of H2SO4. Such a method would be similar to the one used by Zhu et al. (2014) for amino sugar hydrolysis, where it was found to have high recovery rates.6

Alternative hydrolysis methods. 40 mg samples and standards will be weighed into glass test tubes, to which 1 mL of 6 M HCl will be added. This will then be heated to 105oC for 8 hours on the heat block, inside the chemical fume hood. This solution will then be adjusted to pH 6.5–7.0 with 1 M sodium hydroxide (NaOH), evaporated to dryness under N2 as above, re-dissolved in 2 mL methanol (MeOH, 99+%). Samples collected in the supernatant after centrifugation, as above. The methanol step will remove the salt formed from neutralisation. Subsequent derivatisation steps after hydrolysis as the same as described above (step 2 onwards).

References

(1) Duxbury, S. J. N.; Raguideau, S.; Rosko, J.; Cremin, K.; Coates, M.; Quince, C.; Soyer, O. S. Reproducible spatial structure formation and stable community composition in the cyanosphere predicts metabolic interactions. bioRxiv 2022,

(2) Plude, J. L.; Parker, D. L.; Schommer, O. J.; Timmerman, R. J.; Hagstrom, S. A.; Joers, J. M.; Hnasko, R. Chemical Characterisation of Polysaccharide from the Slime Layer of the Cyanobacterium Microcystis flos-aquae C3-40. Applied and Environmental Microbiology 1991, 57 (6),

(3) Olenska, E.; Malek, W.; Kotowska, U.; Wydrych, J.; Polinska, W.; Swiecicka, I.; Thijs, S.; Vangronsveld, J. Exopolysaccharide Carbohydrate Structure and Biofilm Formation by Rhizobium leguminosarum bv. trifolii Strains Inhabiting Nodules of Trifoliumrepens Growing on an Old Zn-Pb-Cd-Polluted Waste Heap Area. Int J Mol Sci 2021, 22 (6),

(4) Becker, M.; Ahn, K.; Bacher, M.; Xu, C.; Sundberg, A.; Willfor, S.; Rosenau, T.; Potthast, A. Comparative hydrolysis analysis of cellulose samples and aspects of its application in conservation science. Cellulose (Lond) 2021, 28 (13), 8719-8734

(5) Nakagawa, M.; Takamura, Y.; Yagi, O. Isolation and Characterization of the Slime from a Cyanobacterium,Microcystis aeruginosaK-3A. Agricultural and Biological Chemistry 2014, 51 (2), 329-337

(6) Zhu, R.; Lin, Y. S.; Lipp, J. S.; Meador, T. B.; Hinrichs, K. U. Optimizing sample pretreatment for compound-specific stable carbon isotopic analysis of amino sugars in marine sediment. Biogeosciences Discuss 2014, 11, 593–623