This form should be completed to record the laboratory’s DDNS in-house verification results. It aims to demonstrate that your lab results are in line with how the DDNS method has been designed to perform. The completed report becomes part of your laboratory’s QA records.

Name of Institute/Organisation………………………………………….

Date of in-house verification: Start ………/………/…………  Completion ………/………/ ………….

Positive control candidate 2: Lot/batch number …………………………. Date of receipt:……./……/……

Date of control material vial resuspension: ………/………/…………  Aliquot storage temperature…...°C

|  | Samples RNA extraction Date: / / | PCR amplification results |  |  |  | Sequencing and assay results |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| STAGE 1 Spiking of water with positive control dilutions Aim: To show if RNA extraction & PCR amplification worked efficiently resulting in PCR amplicons and consensus sequences. |  | RT-PCR Date: / / amplicon generated |  | VP1 PCR Date: / / amplicon generated |  | Consensus Sequence generated Y/N | QC pass/Fail |
|  |  | Yes | No | Yes | No |  |  |
|  | Neat_1 |  |  |  |  |  |  |
|  | Neat_2 |  |  |  |  |  |  |
|  | 10-1_1 |  |  |  |  |  |  |
|  | 10-1_2 |  |  |  |  |  |  |
|  | 10-2_1 |  |  |  |  |  |  |
|  | 10-2_2 |  |  |  |  |  |  |
|  | 10-3_1 |  |  |  |  |  |  |
|  | 10-3_2 |  |  |  |  |  |  |
|  | 10-4_1 |  |  |  |  |  |  |
|  | 10-4_2 |  |  |  |  |  |  |
|  | Negative control |  |  |  |  |  |  |
|  | RT-PCR control |  |  |  |  |  |  |
|  | VP1 PCR control |  |  |  |  |  |  |

Please summarise results in the tables below, ensuring to attach RT-PCR and VP1 PCR electrophoresis images/reports, MinKNOW sequencing run reports and PIRANHA analysis report files for each stage to enable review.

Comments for STAGE 1 (if applicable):

| STAGE 2 Spiking of negative stool with positive control neat aliquot Aim: To show if the assay worked efficiently with the stool matrix. | Samples RNA extraction Date: / / | Results |  |  |  | Sequencing and assay results |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | RT-PCR Date: / / amplicon generated |  | VP1 PCR Date: / / amplicon generated |  | Consensus Sequence generated Y/N | QC Pass/Fail |
|  |  | Yes | No | Yes | No |  |  |
|  | Spiked stool 1 |  |  |  |  |  |  |
|  | Spiked stool 2 |  |  |  |  |  |  |
|  | Spiked stool 3 |  |  |  |  |  |  |
|  | Spiked stool 4 |  |  |  |  |  |  |
|  | Spiked stool 5 |  |  |  |  |  |  |
|  | Un-spiked stool 1 |  |  |  |  |  |  |
|  | Un-spiked stool 2 |  |  |  |  |  |  |
|  | Un-spiked stool 3 |  |  |  |  |  |  |
|  | Un-spiked stool 4 |  |  |  |  |  |  |
|  | Un-spiked stool 5 |  |  |  |  |  |  |
|  | Positive control |  |  |  |  |  |  |
|  | Negative control |  |  |  |  |  |  |
|  | RT-PCR control |  |  |  |  |  |  |
|  | VP1 PCR control |  |  |  |  |  |  |

Comments for STAGE 2 (if applicable):

| STAGE 3 Testing of known positive and negative samples Aim: Comparison of DDNS vs virus isolation results. | Samples RNA extraction Date: / / | Expected PCR positivity | Observed PCR positivity RT-PCR Date: / / VP1 PCR Date: / / | Sequencing and assay results |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Consensus Sequence generated Y/N | QC Pass/Fail |
|  | Positives |  |  |  |  |
|  | Negatives | No PCR amplicons |  |  |  |
|  | Positive control |  |  |  |  |
|  | Negative control (s) | No PCR amplicons |  |  |  |

Comments for STAGE 3 (if applicable):

| Stage 4 Blinded sample set testing Aim: To test the laboratory’s entire quality system and provide a real time assessment of DDNS proficiency | Samples RNA extraction Date: / / | Expected PCR positivity | Observed PCR positivity RT-PCR Date: / / VP1 PCR Date: / / | Sequencing and assay results |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Consensus Sequence generated Y/N | QC Pass/Fail |
|  | Positives |  |  |  |  |
|  | Negatives | No PCR amplicons |  |  |  |
|  | Positive control |  |  |  |  |
|  | Negative control (s) | No PCR amplicons |  |  |  |

Comments for STAGE 4 (if applicable):

| Laboratory’s Lead Signature & Date |  |
| --- | --- |
| QC&QA Lead Signature & Date |  |
| GSL Signature & Date |  |

Approval