# Open field protocol

Adapted from:

- Tatem, K., (2014) JoVE      &    Seibenhener, M., (2015), JoVE

Open Field:  Widely used assay to measure exploratory activity in rodents, it can also be used to infer anxiety, stress and spontaneous locomotor activity.

Materials:

- Tripods

- Cameras with chargers

- Clean/spare cages

- Timer

- Pens

- Extra cards for animal/cage ID

- LabBook

- Open field arenas

- Ruler + marker if need to remark quadrants

- Spare complete cages with food and water for mice that underwent testing.

Notes on preparations:

- Prepare open field boxes (50x50cm) and quadrant separators.

- Quadrants should be divided into periphery, non-periphery, center areas.

- Use a room without natural light.

- Mice should be analyzed on the same time of the day consistently with a strong preference for morning.

Notes on setup:

- If the camera setup is placed high enough, 4 mice can be done simultaneously, BUT make sure the mice do not see each other by placing an opaque separator such as a cardboard.

- Clean and disinfect the cages thoroughly between each animal, no particles should remain between testing sessions/mice.

- Make sure all the quadrants of the open field are properly illuminated. This will facilitate animal detection for quantification afterwards.

- Make sure the video camera catches the full open field and in a straight (non-rotated) manner (this is important for analysis). It is also important that the camera is flat (non-tilted!), otherwise the videos display an angle and are not accurately quantified.

Climatization to testing box (Only needed on unhabituated mice)

- Place the mice in the testing room in their home cages for approximately 10 min to acclimate. Leave the room during the acclimation period. For practicality you can acclimate the mice per cage (e.g. place mice from the same cage together in one open field arena - do not combine mice from different cages!).

- Return to the testing room and turn on the activity chambers. Even though data are not being collected at this time, this will further mimic the testing environment.

- Gently remove each mouse from their home cage and immediately place them in the test chambers. If the activity chamber contains a center divider that divides the chamber into quadrants (Figure 1), place one mouse into each empty quadrant.

- Once all animals are loaded into the test chambers. Leave the room during this acclimation time.

- Following the 10 min, return to the room. Remove the lid from each test chamber and gently return each mouse to his or her respective home cage.

- Clean each chamber with disinfectant and paper towels. Ensure no dirt particles are left in the chamber.

NOTE: If multiple sessions are being run each day, thoroughly clean each test chamber in between each session.

NOTE: Only perform acclimation prior to the first round of testing to avoid habituation. In addition, randomly assign the animals to a new box each session. Track the box assignments throughout the duration of the study.

Open Field Testing

- Place the animals in the testing room for at least 30min for acclimatization.

- Start the computer and open the ANYmaze tracking software. (for more information of the ANYmaze software, go to: https://www.any-maze.com/)

  - Upload your protocol OR make a new protocol.

  - Define the video sources (4) and apparatus.

  - Behaviour < Zones < Define the 3 zones: periphery, non-periphery and center

  - Behaviour < Immobility detection: Set the immobility sensitivity at 70% and the minimum immobility period as 5s.

  - Behaviour < Freezing detection: Set the minimum freezing detection as 5000 miliseconds.

  - Testing < Stages < First stage: fill in the test duration: 1800s.

  - Go to the experiment tab and fill in the number of animals per treatment that will be tested.

- Make sure the mice groups are randomized and run intercalated to avoid hour/group interplay.

- Do not manipulate the mice before the test, simply move the mouse from the home cage to the testing chamber and identify the paw tattoo/ear tag after the test is performed.

- Move the animal directly to the open field testing box. If you have 4 open field boxes, move each mouse to a box.

- Go to the Tests tab and press start all (All 4 mice will be tracked by the software and you can follow it on the screen). Remove yourself from the room or from the mice field of view to avoid interference and unnecessary noises that will interfere with the animal behavior.

- When the 30min are finished the software will automatically stop tracking the animal. Move the tested mouse to a new cage if non-tested mice are still present in the original cage.

- Clean the testing box and repeat steps 5-7 for the next mice.

Notes:

- Repeat the measures on at 2 non-consecutive days (this greatly reduces data variability if using small groups)

- If the mouse is to be tested throughout the study avoid measuring the same animal more than 1 once a month to avoid habituation.

- Randomize order of mice each day to avoid daytime influence.