# Pole test protocol

Pole Test: The pole test is a widely used test to assess basal ganglia-related movement disorders in mice (Ogawa et al., 1985, 1987; Matsuura et al., 1997; Sedelis et al., 2001; Fernagut et al., 2003). The procedure evaluates the ability of a mouse to grasp and manoeuvre on a pole in order to descend to its home cage.

Materials:

- Tripods

- Cameras with chargers

- Clean/spare cages

- Timer

- Pens

- Extra cards for animal/cage ID

- LabBook

- Pole

- Clean cage

Notes on preparation:

- On all test days, habituate the mice for 30 min prior to testing by placing their cage in the testing room.

- Place the pole equipment inside a cage box  with no bedding, to facilitate the mice descent and re-collection.

- Make sure the markings of the 30cm stretch are visible in the video.

- Make sure all the experimental trials are recorded - write down the camera used for the recording.

- The presence of a human observer may influence animal behavior. The use of a video camera may help reduce human interference during the test.

- All videos were recorded in .avi format and viewed using VLC media player.

- Make sure the cards indicating the cage and animal tag are clearly visible on the video. For security, also mention out loud which cage and which mouse is getting recorded.

Notes on assay:

- 4 week old mice do not show enough paw grip to walk down and will slide to the bottom, thus mice 5 weeks or older should be used for this assay.

- To avoid sliding, the surface of the pole should be rough. That can be achieved with adhesive tape/sand paper, if needed. This should be a very mild sanding, as a very rough surface will interfere with the results obtained. (max 1-2x a year).

- Some animals may climb over the tip of the pole instead of making a turn. In that case, a small piece (i.e., 7 7 cm) of cardboard can be placed at the top of the pole to prevent climbing (see picture bellow).

- Max time of assay 120s (this can be adjusted if we observe disease-model with significant longer Ttotal)

- Pole Marks: Mark I (8cm), Mark II (14cm from top), Mark III (8cm from the bottom).

- Mice can be trained to complete the pole test over two training trials, the day prior to experimental measurement - too many trials can result in the animal not descending sometimes, so we do not routinely do it because our mice are tested over time.

Protocol:

- Mice are placed with their head oriented upward on top of the pole (50cm tall/0.8cm diameter), base of pole inside cage). The animals will often naturally orient themselves downward and descend the length of the pole in order to return to their home cage.

- The time required for the animals to orient themselves facing in a downward direction (time to T turn) and to descend to the base of the pole (total time) is recorded for three trials. A trial can be repeated a maximum of 5 times.

  - If the animal does not turn and begin the descent, gently tap it to motivate movement.

  - Repeat the trial if the following conditions are met:

    - When the animal pauses (>5s) while descending, the trial is repeated.

    - If the animal does not perform the test as expected: turns down and then turns back up; does not turn and walks up (a distance greater than the distance between 2 marks, walks backwards.

  - When the animal could not turn but instead descended with a lateral body position, then Ttotal was attributed to Tturn (e.g. Ttotal=13s and Tturn=13s).

  - When the animal fall off the pole immediately, the maximum scores for Tturn (120 sec) and Ttotal (120 sec) are assigned.

- Pole is cleaned first with a paper towel soaked with water, followed by disinfection after each test-run between mice.

We analyse Time to descend (completely from placing to cage) and Time to transverse = middle section marked on the pole, 30cm (14 cm from the top and 8cm from the bottom ends).