POC-PON analysis

by Dr. Jana Hinners (jana.hinners@ed.ac.uk)

- Whatman GF/F 25 mm filters

- Filter precombustion: 450°C 6 hrs, each 20 filters are wrapped in aluminium foil for this purpose, store in a sealed plastic bag afterwards (to avoid them taking up any air humidity, which affects the weight)

- After precombustion, weigh empty filters separately

- Store individual weighed filters in 6 well plates, clearly label plates for potential longer term storage

- Establish cultures in 50 mL flasks – 45 ml volume

- when cultures dense enough – some colour should be visible, 1 mL used for fluorescence measurement/cell counting

- 20 mL each used for 2 replicate filters, apply sample onto filter with a 10 mL pipette, carefully check volume!

- - Rule of thumb: if you can distinguish a coloured patch of sample matter on the filter, it is enough biomass to measure POC and PON, if the filter still looks transparent, increase the volume you apply onto a single filter, and go for less/no replicates or wait until culture becomes denser

- Wash 10mL pipette with MQ water in between samples (pipetting up and down in 1L of MQ – change this every 10-20 samples, depending on culture densities)

- After application of respective volume onto filter, wash filter with 10mL MQ water

- Determination of cell concentration using fluorescence/cell counting

- Loaded filters are air-dried in the 6 well plate in which the filter was stored previously

- Air-dried filters are then dried with lid taken off for 3 days at 40°C in an oven (at Geosciences) and then weighed again

- To remove inorganic carbon, weighed filters are HCl-treated: apply 200uL MQ water onto the filters to get them soaked, then apply 100uL 2M HCL onto each filter – let filters dry over night

- After the inorganic carbon removal, the filters are ready to be placed into capsules for the actual elemental analysis