EXPERIMENTAL PROCEDURES

FGF cDNA

cDNAs encoding FGF-1 and FGF-2 were cloned into vector pET-14b (Novagen, Merck); cDNAs encoding FGF3, FGF10, FGF16, FGF17 and FGF20 were purchased from Eurofins Genomics (Ebersberg, Germany); cDNAs encoding FGF6, FGF8 and FGF22 were purchased from Life Technologies (Paisley, UK); cDNAs encoding FGF-7 shipped from the company undertaking gene synthesis, Eurofins Mwg, UK. FGF-9 and FGF-18 were inserted separately into a modified pET-24b vector (pETM-11, a kind gift of Dr Paul Elliott, University of Liverpool, UK), which contains sequence encoding a 6-histidine tag and a tobacco etch virus cleavage site (26 amino acids, MKHHHHHHPMSDYDIPTTENLYFQGA) at the N terminus of the inserted FGF. cDNAs encoding HaloTag was acquired from Kazusa DNA Research Institute  (Kisarazu, Japan).

(Lacking the information of His-FGF4 and FGF5)

Recombinant FGF Purification

pET-14b-FGF-1, pET-14b-FGF-2 were transformed into Escherichia coli C41 (DE3) cells and cultured at 37ºC until the OD600 values were between 0.5 to 0.6, then expressed at 37ºC for 4 hours by adding 1 mM isopropyl 1-thio-β-D-galactopyranoside (IPTG). pETM-11-FGF-7, because of its toxicity, was transformed into E. coli BL21 (DE3) cells, expressed by 1 mM IPTG at 37 °C for 3 h, and purified as described for FGF-18 (15). pETM-11- FGF3, 4, 9, 10, 17 and 18 was transformed separately into C41 (DE3), grown at 37ºC until the OD600 values were between 0.5 to 0.6 and induced by 1 mM IPTG at 16 °C for 16 h. Halo-FGFs (including Halo-FGF6, FGF17 and FGF20) were transformed into SoluBL21. The induction and expression of Halo-FGFs are at 16 °C. The bacteria were harvested by centrifugation at 4°C, 6000g for 10 minutes and the pellets frozen at -80°C.

The bacterial pellets were first suspended in lysis buffer (0.3M NaCl, 50 mM Tris-Cl (pH 7.2)) and then kept on ice prior to sonication. Cells were disrupted by six cycles of sonication (30s of sonication and 60s break for each cycle). To remove cell debris, the disrupted cells were centrifuged at 15000 x g for 40 min. The supernatant was then filtered through a 0.45 μM pore filter prior to chromatography.

FGF 1, 2, 7, 9 and 18 were purified as described before [1]. The purifications of the soluble FGF3, FGF10, 16, 17, Halo-FGF 6, Halo-FGF20, Halo-FGF-22 follow the protocol described by Changye S. [2]. His-FGF4 was purified as described previously [3].

## Selective protection and labelling of arginine/lysine side chains in HBSs of proteins.

## Step 1: Binding

## AF-heparin beads (Tosoh Biosciences GmbH, Stuttgart, Germany; binding capacity of 4 mg antithrombin III/mL) used in the lysine selective labelling protocol [9] were used. A mini affinity column was made by placing a plastic air filter as a frit at the end of a P10 pipette tip (Star Lab Ltd., Milton Keynes, UK) and then packed with 20 μL AF-heparin beads. The mini-column was equilibrated with 4 × 50 μL 200 mM NaCl, 0.2M NaHCO3, pH 9.5 (Na-1 buffer) for arginine or or PB150 ( 150 mM NaCl, 17.9 mM Na2HPO4, 2.1 mM NaH2PO4, pH 7.8) for lysine. The buffer was dispensed slowly into the column using a 2 mL sterile syringe. A minimum of 10 μg FGF protein was loaded onto the column (generally, the loading capacity of FGFs to resin was estimated at 15 mg/mL). The loading was repeated 3 times to ensure the binding between protein and heparin beads. After binding, the column was washed with 200 μL (4 x 50 μL) Na-1 buffer/PB150 to remove any unbound protein.

## Step 2: Protection of arginine/lysine side chains

## PGO (Merck Ltd., UK, 97%) was used in the dark, as it is light sensitive. PGO was freshly prepared in 50% (v/v) DMSO, 50% (v/v) HPLC grade water at 1 M, which was then diluted to 0.5 M and then 0.2 M with 0.2 M NaHCO3, pH 9.5. The pH was adjusted by 0.1 M NaOH to between 9.1 and 9.5 to ensure optimal reaction. The heparin mini column was rinsed with 30 μL of the 0.2 M PGO solution to exchange buffers. A further 30 µL PGO solution was added to the column and the bound protein was allowed to react for 60 min at room temperature in the dark. The reaction was quenched with 5 μL 0.1% (v/v) Trifluoroacetic acid (TFA) in water so that the final concentration of TFA is 0.01% (v/v). The mini-column was then washed with 200 μL Na-1 buffer (4 x 50 μL). Bound proteins were eluted with 2 x 20 μL Na-2 buffer (2 M NaCl, 0.2M NaHCO3,  pH 9.5) containing 0.1% (w/v) RapiGest SF Surfactant (Waters, UK). The addition of surfactant was important to ensure protein recovery in this and subsequent steps, due to the increased hydrophobicity of the protein following PGO conjugation to arginine side chains.

## Step 3: Labelling of Arginine side chain by HPG

## The preparation of HPG was performed in the dark room as it is even more light-sensitive than PGO, following a procedure identical to that used for PGO. The eluted protein was diluted with 400 μL 0.2M NaHCO3, pH 9.5 and concentrated on a 3.5 kDa MWCO centrifugal filter to a final volume of 70~80 μL. The reaction with HPG was performed by incubating 80 μL diluted protein with 20 μL 0.5M HPG so that the final concentration of HPG in the reaction was 0.1 M. The pH was maintained at over 9.0. The reaction was performed for 60 min at room temperature in the dark and then was quenched with 5 μL 0.1% (v/v) TFA in water.

## Sample preparation for Mass Spectrometry

## For labeling, protein was buffer exchanged by four cycles of dilution on 3.5 kDa-MWCO centrifugal filters with 400 μL 10-fold diluted 0.2 M NaHCO3, pH 9.5 containing 0.1% (w/v) RapiGest and 3 cycles of dilution with 400 μL HPLC water containing 0.1% (w/v) RapiGest by centrifugation at 13200 rpm for 10 min. After freezing at -80°C for 30 min, the sample was lyophilized for an hour.

Mass spectrometry for the identification of peptides

## Peptides were concentrated by rotary evaporation to a final volume of 10 μL and desalted using C18 Zip-Tips (Millipore). C18 Zip Tips were first pre-wetted with 2 x 10 μL 100% (v/v) acetonitrile and then pre-equilibrated with 2 x 10 μL 0.1% (w/v) TFA in water. The peptides were loaded on the Zip Tip, the loading was repeated 7 to 8 times to ensure binding. The Zip Tip was washed with 10 μL 0.1% (w/v) TFA. Finally, the peptides were eluted with two aliquots of 4–6 μL 50% (v/v) acetonitrile (ACN) in water.

## Using the dried droplet method, the samples were spotted onto the stainless steel MALDI plate. Analyses were performed on the instrument Synapt G2-Si (Waters, Manchester, UK) with MALDI source equipped with a frequency tripled Nd:YAG UV laser (λ = 355 nm), operating at 1kHz. The acquisition time is 120 seconds, 1 second scan rates; laser energy is 150 Au. The MS spectra were extracted by MASSLYNX v.4.1 (Waters, Manchester, UK) with the spectrum range from 500 Da to 4000 Da. The spectra are then processed using automatic peak detection including background subtraction.

Identification of modifications of peptides

## Protein Prospector (v 5.19.1 developed in the USCF Mass spectrometry Facility) and Peptide Mass (ExPASy) were used to predict the possible peptides after incubation with an enzyme with the following parameters: enzyme, chymotrypsin or trypsin; maximum missed cleavages, 5; mass range, 500 to 4000 Da; monoisotopic; instrument, MALDI-Q-TOF (Figure 1-B1). The list of peptides after enzyme cleavage was filtered to remove the peptides without arginine residues. Because products from the reaction between PGO/HPG and arginine residue bring different additional masses to the peptides, the prediction of the peptide masses after the modification was achieved using a script, written in Python (version 3.5.3 released on January 17th, 2017, available at http://www.python.org), named “PGO-HPG mass predictor”.  Based on the number of arginine residues in each peptide, PGO-HPG mass predictor script considers all possible reaction products of PGO and HPG with arginine, and generates a list of predicted the mass of modified peptides (Figure 1-B2).

## The observed list was obtained from the original spectrum of FGF samples after modifications (Figure 1-B3), which provided the mass and intensity of each peak. The match between predicted and the observed list was carried out with a second Python script, “Matchmaker”, with a mass difference tolerance set to 0.1 Da (Figure 1-B3).

## The output is a list of matching peptides with the native sequence, the native mass, the arginine residues with associated specific modifications and the actual observed mass.

[1]	R. Xu, A. Ori, T. R. Rudd, K. A. Uniewicz, Y. A. Ahmed, S. E. Guimond, M. A. Skidmore, G. Siligardi, E. A. Yates, and D. G. Fernig, “Diversification of the Structural Determinants of Fibroblast Growth Factor-Heparin Interactions: IMPLICATIONS FOR BINDING SPECIFICITY,” J. Biol. Chem., vol. 287, no. 47, pp. 40061–40073, 2012.

[2]	C. Sun, Y. Li, S. E. Taylor, X. Mao, M. C. Wilkinson, and D. G. Fernig, “HaloTag is an effective expression and solubilisation fusion partner for a range of fibroblast growth factors,” PeerJ, vol. 3, p. e1060, 2015.

[3]	Y. Li, C. Sun, E. A. Yates, C. Jiang, M. C. Wilkinson, D. G. Fernig, and D. G. Fernig, “Heparin binding preference and structures in the fibroblast growth factor family parallel their evolutionary diversification,” Open Biol., vol. 6, no. 150275, 2016.