Table 1. RNA quality and RNA yield from three G. swidsinskii strains grown in two conditions each. Three biological replicates were performed for each condition. Total input per replicate was 1.6 mL of log phase broth culture OD600 0.3-0.6. Extracted RNA was analyzed by RNA Integrity Number (RIN) (Agilent TapeStation) and A260/A280 ratio (Nanodrop 2000c spectrophotometer). Final elution volume was 30 µL for each sample.

| Sample ID | RNA Yield (ng/L) | RNA Integrity Number (RIN) | A260/A280 |
| --- | --- | --- | --- |
| Strain 1.1 Replicate 1 | 46.9 | 7.7 | 2.24 |
| Strain 1.1 Replicate 2 | 85.9 | 8.1 | 2.15 |
| Strain 1.1 Replicate 3 | 77.0 | 8.0 | 2.12 |
| Strain 1.2 Replicate 1 | 49.3 | 7.5 | 2.16 |
| Strain 1.2 Replicate 2 | 58.5 | 7.9 | 2.14 |
| Strain 1.2 Replicate 3 | 37.4 | 7.5 | 2.14 |
| Strain 2.1 Replicate 1 | 92.0 | 8.9 | 2.14 |
| Strain 2.1 Replicate 2 | 72.2 | 8.7 | 2.14 |
| Strain 2.1 Replicate 3 | 136.0 | 8.8 | 2.13 |
| Strain 2.2 Replicate 1 | 99.0 | 8.9 | 2.17 |
| Strain 2.2 Replicate 2 | 69.3 | 8.7 | 2.12 |
| Strain 2.2 Replicate 3 | 75.9 | 8.8 | 2.07 |
| Strain 3.1 Replicate 1 | 132 | 8.1 | 2.11 |
| Strain 3.1 Replicate 2 | 67.0 | 8.0 | 2.06 |
| Strain 3.1 Replicate 3 | 69.2 | 7.8 | 2.11 |
| Strain 3.2 Replicate 1 | 56.2 | 7.9 | 2.10 |
| Strain 3.2 Replicate 2 | 51.2 | 7.9 | 2.14 |
| Strain 3.2 Replicate 3 | 94.5 | 8.3 | 2.08 |