## Sheet1
Detection of river pearl mussel by using SYBR Green qPCR
Primers reported in Stoeckle et al., 2016 was used
MarMa_16S2.1 5’- GCAACACGGAAAACCCC TG -3’
MarMa_16S1.2 5’- GGCT GCGCTCATGTGAATTA -3’
| working sol | final conc | 20 µl
SsoAdvanced Universal SYBR® Green Supermix | 2x | 1x | 10
MarMa_16SF primer | 10 uM | 0,25 uM | 0.5
MarMa_16SR primer | 10 uM | 0,25 uM | 0.5
DEPC-water |  |  | 6
DNA template |  |  | 3
∑ |  |  | 20
PCR program
|  | Time | Temp
| Enzyme activation | 15 sec | 98 °C
Cycling x40 | Denaturation | 10 sec | 98 °C
| Annealing | 10 sec | 60 °C
| Extenstion | 20 sec | 72 °C
Melt curve analysis |  |  | 63 to 95 °C
Pipette 3μl of DNA template into each well, according to your experimental plate set up.
For negative control use 3μl of RNase/DNase free water. The final volume in each well is 20μl.
Serial dilution:10ng to 0.001 ng of positive control of freshwater pearl mussel was prepared to generate standard curve
Äkta målarmussla species was used to test the specificity of qPCR detection