# Protein Isolation

# From cells for western blotting

# Grow cells in monolayer (or suspension).

Collect and pellet cells as normal (using trypsin or versene), spinning at 300xg for 5 minutes.

Wash pellet with ice cold PBS and aspirate off PBS carefully, not disturbing the pellet.

# Repeat wash step and aspiration.

Apply appropriate amount of lysis buffer, prepared fresh, and resuspend pellet well.

Lyse cells, on ice, 15-30 minutes.

# Sonicate, setting 6, 5 seconds, such that sample becomes white and cloudy.

# Spin 15 minutes, 18000 x g, at 4° C.

# Store at -80° C, aliquot if desired.

# Quantify protein concentration using Pierce BCA assay.