Advanced Marfey’s

Each peptide (300 μg in 600 μL of 6 M HCl) was heated to 100 °C for 24 h with stirring in a sealed thick-walled reaction vessel, after which the hydrolysate was concentrated to dryness under N2. The resulting hydrolysate was divided into three portions (3 × 100 μg) for chemical derivatization with 1-fluoro-2,4-dinitrophenyl-5-l-alanine amide (l-FDAA), 1-fluoro-2, 4-dinitrophenyl-5-d-alanine amide (d-FDAA), and 2,3,4,6-tetra-O-acetyl-β-d-glucopyranosylisothiocyanate (GITC).

(i) L- and D-FDAA derivatization of amino acids. Two aliquots (2 × 100 μg) of the hydrolysate were treated with 1 M NaHCO3 (100 μL) and l- or d-FDAA (1% solution in acetone, 100 μL) at 40 °C for 1 h, respectively. Samples were neutralized with 1 M HCl (100 μL), diluted with MeCN (100 μL) and ﬁltered (0.45 μm PTFE) prior to HPLC-DAD-MS analysis (Phenomenex Prodigy ODS-2 column, 250 x 4.6 mm, 5 μm, 0.7 mL/min gradient elution from 90% H2O/MeCN to 100% MeCN with 0.1% formic acid over 45 min, 340 nm detector, positive and negative ion modes). The l- and d-FDAA derivatives of the peptide hydrolysate was detected by UV absorption (340 nm) and extracted ion chromatograms (EICs). The configurations of the amino acid residues were determined by comparison of their retention times and elution orders with those for FDAA derivatives of amino acid standards. For the preparation of FDAA-amino acid standard derivatives, 50 mM of l-amino acid (l-Ala, l-Val, l-Ser, l-Leu, l-Ile, l-allo-Ile, l-Phe, l-Pro, l-Gln, l-Glu, l-Thr, l-allo-Thr and l-Cys) dissolved in H2O (50 μL) was treated with 1 M NaHCO3 (20 μL) and 1% l- or d-FDAA (100 μL) at 40 °C for 1 h, respectively. After the reaction, the solution was quenched with 1 M HCl (20 μL) and diluted with MeCN (810 μL) for HPLC-DAD-MS analysis using the same column and elution conditions as above.

(ii) GITC derivatization of amino acids. An aliquot (100 μg) of the hydrolysate of each peptide was incubated with 6% triethylamine (50 μL) and GITC (1% solution in acetone, 50 μL) at room temperature for 20 min, and then quenched with 5% acetic acid (50 μL). The reaction mixture was dried under N2 and re-dissolved in 50 μL MeOH for HPLC-DAD-MS analysis (Phenomenex Prodigy ODS-2 column, 250 x 4.6 mm, 5 μm, 0.7 mL/min gradient elution from 90% H2O/MeCN to 30% H2O/MeCN with 0.1% formic acid over 45 min, 254 nm detector, positive and negative ion modes). The GITC derivatives of the hydrolysate were detected by UV absorption (254 nm) and extracted ion chromatograms (EICs). The configurations of amino acid residues were determined by comparison of their retention times and elution orders with those for GITC derivatives of l- and d-amino acid standards. Regarding the GITC derivatives of amino acid standards, 50 mM of each l- and d-amino acid (l/d-Ala, l/d-Leu, l/d-Ile, l/d-allo-Ile, l/d-Pro and l/d-Glu) dissolved in H2O (50 μL) was treated with 6% triethylamine (10 μL) and 1% GITC (20 μL) at room temperature for 20 min, followed by quenching with 5% acetic acid (10 μL) for HPLC-DAD-MS analysis using the same column and elution condition as above. To achieve a satisfactory resolution for Leu, Ile and allo-Ile, an optimized HPLC condition (0.7 mL/min gradient elution from 70% H2O/MeCN to 60% H2O/MeCN with 0.1% formic acid over 80 min) was applied to reanalyze the reaction solution and amino acid standards.

Fujii, K.; Ikai, Y.; Mayumi, T.; Oka, H.; Suzuki, M.; Harada, K. (1997) A nonempirical method using LC/MS for determination of the absolute configuration of constituent amino acids in a peptide:  elucidation of limitations of Marfey's method and of its separation mechanism. Anal. Chem. 69, 3346−3352.

Hess, S.; Gustafson, K. R.; Milanowski, D. J.; Alvira, E.; Lipton, M. A.; Pannell, L. K. (2004) Chirality determination of unusual amino acids using precolumn derivatization and liquid chromatography-electrospray ionization mass spectrometry. J. Chromatogr. A, 1035, 211−219.