## Genesig advanced kit
Genesig qPCR detection protocol
1. For each DNA sample prepare a reaction mix according to the table below:
Component Volume μl
SsoAdvanced Universal Probes Supermix | 10
B.dendrobatidis primer/probe mix (BROWN) | 1
RNase/DNase free water (WHITE) | 4
Final Volume | 15
2. Pipette 15μl of this mix into each well according to your qPCR experimental plate set up.
3. Prepare DNA templates for each of your samples.
4. Pipette 5μl of DNA template into each well, according to your experimental plate set up.
5. For negative control wells use 5μl of RNase/DNase free water. The final volume in each well is 20μl.
6. Serial dilution:1e4-1e-1 cells of positive control of Batachochytrium dendrobatidis to generate standard curve
Amplification conditions:
| Step | Time | Temp
| Enzyme activation | 2 min | 95 °C
Cycling x50 | Denaturation | 10 s | 95 °C
| DATA COLLECTION * | 1 min | 60 °C

## Amphibians metbarcoding_1stPCR
Metabarcoding
First PCR
Paired end sequencing on the Miseq platform required two steps of PCR, the first step for amplifying the target region using primers
batra_F: 5′-ACA CTC TTT CCC TAC ACG ACG CTC TTC CGA TCT NNN NNN ACA CCG CCC GTC ACC CT-3′
batra_R:5′-AGA CGT GTG CTC TTC CGA TCT NNN NNN GTA YAC TTA CCA TGT TAC GAC TT-3′
Human blocking primer: TCACCCTCCTCAAGTATACTTCAAAGGCA-SPC3I
Components | Working conc. | Final conc. | 1 reaction (µl) | (N) reactions 40
5xQ5 Reaction Buffer | 5X | 1X | 5 | 200
batra_F | 10 µM | 0,2 µM | 0.5 | 20
batra_R | 10 µM | 0,2 µM | 0.5 | 20
dNTPs | 2 mM | 0,2 mM | 2.5 | 100
batra_blk | 50uM | 4uM | 2 | 80
Q5 HF DNA polymerase | 2 U/µl | 0.02 U/µl | 0.25 | 10
Template DNA |  |  | 5 | 200
Nuclease-Free water |  |  | 9.25 | 370
∑ |  |  | 25 | 1000
First PCR program
STEP | TEMP. | TIME
Initial Denaturation | 98oC | 30 sec
| 98oC | 20 sec
35 cycles | 57oC | 30 sec
| 72oC | 1 min
Final Extension | 72oC | 7 min
Hold | 6oC | ∞
PCR product of each sample was visulaized by 1% gel electrophoresis
Each sample was amplified in triplicate and then pooled before the purification step.
After amplification, the PCR products were purified using the Ampure magnetic beads assay (Beckman coulter, US)

## Amphibian metbarcoding_2stPCR
Metabarcoding
Second PCR
Components | Working conc. | Final conc. | 1 reaction (30 µl)
5xQ5 Reaction Buffer | 5X | 1X | 6
10 µM Forward index (i5, illu-N501-N508) | 5 µM | 0.25 µM | 1.5
10 µM Reverse index (i7, illu-N701-N712) | 5 µM | 0.25 µM | 1.5
dNTPs | 2 mM | 0,2 mM | 3
Q5 HF DNA polymerase | 2 U/µl | 0.02 U/µl | 0.3
Template from 1st PCR |  |  | 3
Nuclease-Free water |  |  | 14.7
∑ |  |  | 30
Second PCR program
STEP | TEMP. | TIME
Initial Denaturation | 98oC | 30 sec
| 98oC | 10 sec
15 cycles | 66oC | 30 sec
| 72oC | 30 sec
Final Extension | 72oC | 2 min
Hold | 6oC | ∞
The second PCR was purified using the same assay as above and quantified using the picogreen assay.
Equal amounts of DNA from each sample were mixed to prepare the sequencing library.
The final pooled sampled were visualized by gel electrophoresis to ensure no extra unwanted fragments existed.
The amplicon library was then sequenced on an Illumina Miseq machine, generating paired end reads of 250 bp length.