QIAGEN QIAmp mini Kit (Campylobacter)

Method adapted from QIAGEN QIAmp DNA mini prep manual. See Appendix D: page 55.

- Isolates grown for 48 hrs on chocolate / blood / Brucella plates at 42°C.

- Harvest loop-full (at least) of cultured bacteria and re-suspend with 180µl buffer ATL and incubate for 30 mins at 37°C.

[Proceed from step 3, page 33 QIAGEN manual]

- Add 20 µl Proteinase K (in kit) to the suspension and mix by vortexing.

- Incubate at 56°C for 30-60 min.

- Spin down to remove condensation from caps and add 4 µl RNase (100mg/ml) and 200µl Buffer AL (in kit). Vortex to mix.

- Incubate at 70°C for 10 min.

- Add 200µl of 95-100 % (v/v) ethanol to the suspension and vortex.

- Pipette the suspension into a QIAmp column in a 2 ml collection tube, and centrifuge (8000 rpm, 1 min, RT).

- Discard the flow through and place the column in a clean 2 ml collection tube.

- Add 500 µl Buffer AW1 (in kit) and centrifuge (8000 rpm, 1 min, RT).

- Discard the flow-through and add 500µl of Buffer AW2 (in kit), and centrifuge for 3 min at 14,000 rpm. (RT) to dry the QIAmp column membrane.

- Place the QIAmp column in a clean micro-centrifuge tube and pipette 50µl Buffer AE (in kit) or water onto the column membrane.

- Leave the column for 1 min at RT, before centrifugation at 8000 rpm for 1 min to elute the genomic DNA, and store at 4°C or long term at -20°C.