Protocol

DNA extraction from frozen whole blood

Using DNeasy Blood and Tissue Kit (Qiagen): Spin columns

Last updated: 29.7.2017

Important points before starting

- If using the DNeasy Blood & Tissue Kit for the first time, read “Important Notes” (page 15 of the handbook).

- All centrifugation steps are carried out at room temperature (15–25°C) in a microcentrifuge.

- Vortexing should be performed by pulse-vortexing for 5–10 s.

- PBS is required for use in step 1 (see page 14 for composition). Buffer ATL is not required in this protocol.

- RNase A will be used to digest RNA during the procedure. RNase A is not provided in the DNeasy Blood & Tissue Kit (see “Copurification of RNA”, page 19 of the handbook).

Things to do before starting

- Buffer AL may form a precipitate upon storage. If necessary, warm to 56°C until the precipitate has fully dissolved.

- Buffer AW1 and Buffer AW2 are supplied as concentrates. Before using for the first time, add the appropriate amount of ethanol (96–100%) as indicated on the bottle to obtain a working solution.

- Preheat water bath to 56°C for use in step 2

Procedure:

Step 1.-12. can be prepared in duplicates to increase DNA yield. If done so, do step 14. with the first duplicate, place spin column in a new 2 ml microcentrifuge tube, add second duplicate and centrifuge again for 1 min at 8800 rpm. Discard flow through and collection tube and continue with step 15.

- Thaw whole blood samples slowly at 4°C (takes for 1-5 ml approximately 2-3 hours).

- Dispense 900 l RBC Lysis Solution into a 2 ml microcentrifuge tube.

- Add 300 l whole blood and mix by inverting 10 times.

- Incubate 5 min at room temperature (15-25°C). Invert at least once during incubation.

- Centrifuge for 30 s at 14 000 x g to pellet the white blood cells.

- CAREFULLY pipette off supernatant (1 ml pipette) leaving approximately 10 l of the residual liquid and the white blood cell pellet. 
Vortex the tube vigorously to resuspend the pellet in the residual liquid.

Vortexing greatly facilitates cell lysis in the following steps. The pellet should be completely dispersed after vortexing.

- Dispense cell pellet in 90 l PBS by pipetting up and down and vortexing.

- Add 30 l Proteinase K.

- Add 4 μl RNase A (100 mg/ml) and incubate for 2 min at room temperature.

- Add 300 μl Buffer AL (without added ethanol). Mix thoroughly by vortexing, and incubate at 56°C for 10 min.

- Vortex samples for 10 s and incubate for 10 more minutes at 56°C.

Ensure that ethanol has not been added to Buffer AL (see “Buffer AL”, page 18). Buffer AL can be purchased separately (see page 56 for ordering information).

It is essential that the sample and Buffer AL are mixed immediately and thoroughly by vortexing or pipetting to yield a homogeneous solution

- Add 200 μl ethanol (96–100%) to the sample, and mix thoroughly by vortexing.

It is important that the sample and the ethanol are mixed thoroughly to yield a homogeneous solution

- Place AE buffer in the water bath at 56°C.

- Pipet the mixture from step 12 into the DNeasy Mini spin column placed in a 2 ml collection tube (provided). Centrifuge at 8800 rpm for 1 min. Discard flow-through and collection tube. (If duplicates were prepared, repeat this step with the second duplicate on the same spin column.)

- Place the DNeasy Mini spin column in a new 2 ml microcentrifuge tube (not provided), add 300 μl Buffer AW1, and wash the inside of the DNAesy  Mini spin column thoroughly by inverting each tube 5 times and then roll them in your fingers 5 times. 
Centrifuge for 1 min at 8800 rpm. Discard flow-through and collection tube. 1

- Repeat step 15.

- Place the DNeasy Mini spin column in a new 2 ml collection tube (provided), add 300 μl Buffer AW2, and wash the inside of the DNAesy  Mini spin column thoroughly by inverting each tube 5 times and then roll them in your fingers 5 times. 
Centrifuge for 3 min at 14,000 rpm (20,000 x g) to dry the DNeasy membrane. Discard flow-through and collection tube.

It is important to dry the membrane of the DNeasy Mini spin column, since residual ethanol may interfere with subsequent reactions. This centrifugation step ensures that no residual ethanol will be carried over during the following elution.

- Repeat step 17.

- Following the centrifugation step, remove the DNeasy Mini spin column carefully so that the column does not come into contact with the flow-through, since this will result in carryover of ethanol. If carryover of ethanol occurs, empty the collection tube, then reuse it in another centrifugation for 1 min at 20,000 x  g (14,000 rpm).

- Place the DNeasy Mini spin column in a clean 1.5 ml microcentrifuge tube (not provided), and pipet 100 μl Buffer AE (warm; see step 13) directly onto the DNeasy membrane.

- Incubate at 56°C  for 10 min (use heat block to prevent condensation water in the lids), and then centrifuge for 1 min at 8800 rpm to elute.

- If samples were prepared in duplicates, do two elution steps: Pipet 50 μl warm Buffer AE directly onto the DNeasy membrane, incubate at 56°C  for 5 min (use heat block) and centrifuge for 1 min at 8800 rpm.

If you want to use more than 200 l buffer AE in total to elute the DNA of a single sample, use a new microcentrifuge tube for the second elution step. Otherwise, the silica membrane will touch the flow through.

Flow-through contains Buffer AL or Buffer AW1 and is therefore not compatible with bleach. See page 8 of the DNeasy handbook for safety information.