Protocol for Enzymatic Fingerprinting of AX and MLG in wheat flour

100 mg of flour is weighed in an Eppendorf tube (2ml; safe-lock).

One mL of 80% EtOH is added and vortexed.  The mixture is boiled in heat block for 10 minutes. (Secure the lids of Eppendorf tubes with clamps otherwise they will pop open.

Centrifuge for 2 minutes at 12,000 rpm (or 5 minutes at 10,000 rpm).

Pour off the supernatant and wash the residue with 1 ml of 80% EtOH. The pellet may be compacted, so resuspend with micro-spatula ensuring no sample is lost. tube. Vortex.

Centrifuge for 2 minutes at 12,000 rpm.

Pour off the supernatant and wash the residue with 1 ml of 95% EtOH. (Again, ensuring the pellet is resuspended using a micro-spatula. Vortex.

Centrifuge for 2 minutes at 12,000 rpm.

Pour off the supernatant and dry the residue in SpeedVac. ~ 2 hrs.

Resuspend the washed flour in a total of 1 mL reaction solution, containing 2 µL of Xyn11 (or Xyn10) and 0.95 µL of lichenase  (-glucanase)/ sample.

NB Make up a stock for the number of samples you are going to digest, avoiding multiple additions of small volumes of enzyme.  I.E. for 24 samples make up a total volume of 25ml enzyme solution, containing 50ul xylanase and 23.75ul lichenase, mix and dispense 1ml to each tube.

Incubate digests for 16 h @ 40 ºC and 850 rpm in Thermomixer (Overnight). (or oven with tumbling)

NEXT MORNING

Spin down digest, 5 minutes at 12,000 rpm.

Recover 0.6 mL of supernatant (taking care not to pipette the residue) into a new Eppendorf tube.

Boil for 30 minutes in heat block to inactivate enzymes. (Put clamp on!).

Centrifuge for 2 min at 12,000 rpm.

Filter supernatant into a new Eppendorf tube using 0.45 µm Millex-HV syringe driven filter on Terumo 2 ml syringes.

A dilution (1/20) of the supernatant is required for injection onto the HPAEC system running CarboPac PA1 column. (1/20 dilution: add 50 µl of the filtered supernatant and 950 µl diluted Internal standard (10M melibiose) into glass vials with polyethylene snap cap.

Mix with pipetting up and down.

Always process and run a standard Hereward flour sample (flour stored aliquoted in freezer Hereward defatted  white flour) with each new set of samples.