DNA extraction and molecular screening for intestinal parasites

According to the routine procedure of our laboratory, fecal samples collected for the molecular test were stored in 95% ethanol prior to processing. DNA extraction was performed by MagnaPure LC.2 instrument (Roche Diagnostic, Monza, Italy), using the DNA isolation kit I (Roche), as previously described (1). Molecular diagnostic screening for intestinal parasite was performed by three separate multiplex Rt-PCRs for Entamoeba histolytica - Entamoeba dispar - Cryptosporidium spp., for Giardia intestinalis - Dientamoeba fragilis - Blastocystis spp. and for Strongyloides stercoralis - Schistosoma spp - Hymenolepis nana. Multiplex Rt-PCRs were performed adapting the protocol reported by Verweij and colleagues (2, 3).

Multiplex real-time PCR

Amplification reactions for all the Rt-PCR were prepared in 25 µl, containing PCR buffer (SsoFast master mix, Bio-Rad Laboratories, Milan, Italy), 2.5 µg of BSA (Sigma-Aldrich, Milan, Italy), 5 l of sample DNA and a specific combination of primers and probe concentrations, depending on the performed multiplex. The Rt-PCR cycle protocol consisted of an initial denaturation step at 95 °C for 3 min, followed by 40 cycles at 95 °C for 15 s, 60 °C  for 30 s and 72 °C for 30 s. Amplification, detection and data analysis were performed with the CFX 96 detection system (Biorad Laboratories) using white plates. Positive and negative controls were included in all the experiments. For each multiplex Rt-PCR, we used two positive controls: the first made by a DNA pool with low threshold cycle (Ct, Ct≤37) and a second one with high Ct (Ct>37). For all the Rt-PCR analyses, the threshold was set at 200. As a control for Rt-PCR inhibitors and amplification, the exogenous Phocine herpesvirus 1 DNA was amplified with the appropriate primers/probe mix in each multiplex Rt-PCR. The Rt-PCR targets are shown in table S1. Amplification reactions for all the Rt-PCR were performed adding 80 nM of each Phocine herpesvirus 1 (PhHV-1) specific primer and 200 nM of PhHV-1 CY5-BHQ2 labelled probe. Depending on the performed multiplex, we used the following combinations of primers/probes concentration:

- 300 nM of each G. intestinalis specific primer, 200 nM of G. intestinalis CY5.5-BHQ3 labelled probe. 100 nM of each D. fragilis specific primer and 100 nM of D. fragilis VIC-MGB labelled probe. 300 nM of each Blastocystis spp. specific primer and 100 nM of Blastocystis spp. FAM-MGB labelled probe.

- 60 nM of each E. histolytica/E. dispar specific primer and 200 nM of both E. histolytica FAM-MGB labelled probe and E. dispar VIC-MGB labelled probe. 200 nM of each Cryptosporidium spp. specific primer and 100 nM of Cryptosporidium spp. CY5.5-BHQ3 labelled probe.

- 80 nM of each Schistosoma spp. specific primer, 100 nM of each specific primer for both S. stercoralis e H. nana and 100 nM of the specific probe for each parasite (FAM- BHQ1 labelled probe for Schistosoma spp, CY5.5-BHQ3 for S. stercoralis and YY-BHQ1 for H. nana).

Table S1: Rt-PCR amplification targets.

| Parasite | Gene_target | Reference for primers | Gene_Bank |
| --- | --- | --- | --- |
| Entamoeba histolytica/ E. dispar | SSU rRNA | (3) | X64142 Z49256 |
| Blastocystis spp. | 18S ribosomal RNA gene | (4) | AY244621 |
| Dientamoeba fragilis | SSU rRNA | (2) | DQ233450 |
| Giardia intestinalis | SSU rRNA | (5) | M54878 |
| Cryptosporidium spp. | SSU rRNA | (6) | AY458612 |
| Strongyloides stercoralis | 18S rRNA | (7) | AF279916 |
| Hymenolepis nana | SSU rRNA | Kindly provided by Dr. J.J. Verweij | AF461124 |
| Schistosoma spp. | ITS2 | (8) | DQ677661 AF503487 U22166 |

References

1.	Formenti F, Perandin F, Bonafini S, Degani M, Bisoffi Z. [Evaluation of the new ImmunoCard STAT!(R) CGE test for the diagnosis of Amebiasis]. Bulletin de la Societe de pathologie exotique. 2015 Aug;108(3):171-4. PubMed PMID: 26018388. Evaluation d'un nouveau test ImmunoCard STAT!(R) CGE pour le diagnostic de l'amibiase.

2.	Verweij JJ, Mulder B, Poell B, van Middelkoop D, Brienen EA, van Lieshout L. Real-time PCR for the detection of Dientamoeba fragilis in fecal samples. Molecular and cellular probes. 2007 Oct-Dec;21(5-6):400-4. PubMed PMID: 17587544.

3.	Verweij JJ, Oostvogel F, Brienen EA, Nang-Beifubah A, Ziem J, Polderman AM. Short communication: Prevalence of Entamoeba histolytica and Entamoeba dispar in northern Ghana. Tropical medicine & international health : TM & IH. 2003 Dec;8(12):1153-6. PubMed PMID: 14641852.

4.	Stensvold CR, Ahmed UN, Andersen LO, Nielsen HV. Development and evaluation of a genus-specific, probe-based, internal-process-controlled real-time PCR assay for sensitive and specific detection of Blastocystis spp. Journal of clinical microbiology. 2012 Jun;50(6):1847-51. PubMed PMID: 22422846. Pubmed Central PMCID: 3372105.

5.	Verweij JJ, Schinkel J, Laeijendecker D, van Rooyen MA, van Lieshout L, Polderman AM. Real-time PCR for the detection of Giardia lamblia. Molecular and cellular probes. 2003 Oct;17(5):223-5. PubMed PMID: 14580396.

6.	Jothikumar N, da Silva AJ, Moura I, Qvarnstrom Y, Hill VR. Detection and differentiation of Cryptosporidium hominis and Cryptosporidium parvum by dual TaqMan assays. Journal of medical microbiology. 2008 Sep;57(Pt 9):1099-105. PubMed PMID: 18719179.

7.	Verweij JJ, Canales M, Polman K, Ziem J, Brienen EA, Polderman AM, et al. Molecular diagnosis of Strongyloides stercoralis in faecal samples using real-time PCR. Transactions of the Royal Society of Tropical Medicine and Hygiene. 2009 Apr;103(4):342-6. PubMed PMID: 19195671.

8.	Obeng BB, Aryeetey YA, de Dood CJ, Amoah AS, Larbi IA, Deelder AM, et al. Application of a circulating-cathodic-antigen (CCA) strip test and real-time PCR, in comparison with microscopy, for the detection of Schistosoma haematobium in urine samples from Ghana. Annals of tropical medicine and parasitology. 2008 Oct;102(7):625-33. PubMed PMID: 18817603.