Protocole for Mycobacterium ulcerans DNA detection in environmental samples using real time PCR

Molecular analysis

DNA extraction

Prior to DNA extraction, plant, soil and fecal samples were homogenized using the FastPrep-24 instrument (MP Biomedicals, ver. 6004.2) at the laboratory of the Togolese agricultural research institute (ITRA, Lomé, Togo).

Briefly, 200µl of each sample of soil, plant, and animals’ feces was transferred to a lysing matrix E (MP Biomedicals, Ohio, USA) tube in the presence of MT Buffer (MP Biomedicals, Ohio, USA) and sodium phosphate buffer (MP Biomedicals, Ohio, USA). After a rapid homogenization on the FastPrep-24 instrument for 40s at a speed setting at 6.0, the Matrix E tubes were directly centrifuged at 14000xg for 10 minutes to pellet debris.

For the biofilm and water samples, 200µl were transferred into the Matrix E tube and directly centrifuged at 14000xg for 10 minutes.

After completion of the centrifugation, the supernatant was collected for DNA extraction.

The DNA was extracted at the molecular laboratory of the national institute of hygiene (INH, Lomé, Togo) using FastDNA® Spin Kit for Soil (MP Biomedicals, Ohio, USA) for the 4 types of specimens following the recommendations of the manufacturer. All the steps of the extraction process in detailed could be found at www.mpbio.com.

One negative extraction control (sterile water) for each extraction batch has been added to check for a possible cross-contamination during the extraction process.

PCR analysis

Real time PCR (qPCR) was performed as previously described by Fyfe et al. [21]. Three primers pairs with probes targeting sequences of two insertions sequences (IS2404/IS2606) and Ketereductase B-domain gene (KR-B) (TIB, MOLBIOL; reference n° 017100223) present on the M. ulcerans virulence plasmid pMUM001(GenBank accession no. BX649209) were used (Table 1). These targets were chosen because they were reported to be present in multiple copies in the M. ulcerans genome and are absent in the closely related species Mycobacterium marinum [19, 21].

Table 1: List of primers and probes sequences used for real time PCR (qPCR) targeting IS2404 and IS2606 insertions sequences and Ketoreductase-B domain gene, KR-B.

| Primers and probes names | Sequences (5'-3') | Nucleotides position | Amplicons size |
| --- | --- | --- | --- |
| IS2404 TF | AAAGCACCACGCAGCATCT | 27746-27762 | 59 |
| IS2404 TR | AGCGACCCCAGTGGATTG | 27787-27804 |  |
| IS2404 TP | 6 FAM-CGTCCAACGCGATC-MGBNFQ | 27768-27781 |  |
| IS2606 TF | CCGTCACAGACCAGGAAGAAG | 28912-28932 | 58 |
| IS2606 TR | TGCTGACGGAGTTGAAAAACC | 28947-28969 |  |
| IS2606 TP | VIC-TGTCGGCCACGCCG-MGBNFQ | 28933-28946 |  |
| KR TF | TCACGGCCTGCGATATCA | 3178-3195 | 65 |
| KR TR | TTGTGTGGGCACTGAATTGAC | 3222-3242 |  |
| KR TP | 6 FAM-ACCCCGAAGCACTG-MGBNFQ | 3199-3212 |  |

TF, forward primer; TR: Reverse primer; TP: Probe. Nucleotide position based on the first copy of the amplicons in pMUM001

To confirm the presence of M. ulcerans in an environmental sample, three consecutives qPCR runs were realized.

First run: IS2404-qPCR

The first real time IS2404-qPCR run was quantitative using a Taqman probe targeting IS2404 with three controls. An internal positive control (IPC, Applied Biosystems, Austin, USA) to determine the level of inhibition, a no template control (NTC) and a positive control included in quadruplicate. A calibration curve was generated based on a serial dilution of DNA of known copies of IS2404 from a synthetic gene of M. ulcerans Transposase pMUM001 (58 bp), the plasmid of virulence. All the dilutions of IS2404 plasmid DNA were tested both with samples to determine the sensitivity of the qPCR.

The amplification reaction was obtained from a mixture of 3µl of DNA extracted and 22µl of master mix. which contained 0.5µl IPC DNA, 2.5µl IPC master mix, 1.25µl IS2404 forward primer, 1.25µl IS2404 reverse primer, 1.25 IS2404 probe, 2.75µl water and 12.5 µl TaqMan Environmental Master mix 2.0 (Applied Biosystems, Warrington, UK). The reaction was run on ABI 7300 machine (Applied Biosystems) in the following conditions: 50°C for 2 minutes, 95°C for 15 minutes and 40 cycles of 95°C for 15 seconds and 60°C for 60 seconds.

All samples for which the internal control IPC and the IS2404 insertion did not show the amplification curve were considered as inhibited samples. All inhibited samples were tested again after 10-fold dilution in RNase/ DNase free water.

Samples tested positive for IS2404 have consecutively been tested in a semi-quantitative IS2606-qPCR run.

Second run: IS2606-qPCR

The internal control IPC was no longer used, and the master mix prepared including 1.25µl of the IS2606 forward primer, 1.25µl IS2606 reverse primer, 1.25 µl IS2606 probe, 5.75µl water and 12.5 µl du TaqMan Environmental Master mix 2.0 (Applied Biosystems, Warrington, UK). The amplification reaction was carried out from a mixture of 3µl DNA extract and 22µl master mix with the amplification conditions as described in the IS2404-PCR.

After the second run, all samples that were positive to both insertions sequences (IS2404/IS2606) were analyzed for detection of mycolactone gene, KR-B.

Third run: KR-qPCR

In this semi-quantitative qPCR, the KR gene was amplified from samples positive for the two insertions sequences (IS2404 and IS2606). The amplification reaction was composed of a mixture of 5µl DNA extract and 20µl of master mix in the same conditions as the IS2606-PCR.

All samples were tested in duplicate. An environmental sample was considered positive for M. ulcerans if the qPCR was positive for the two insertions sequences (IS2404/IS2606) and KR-B gene (with a threshold cycle, Ct < 40) in replicates and if the difference (ΔCt) between (IS2404-IS2606) was < 7.