Protocol for Resin/ HM20 embedding and fMOST imaging

Author：Hui Gong, Xiangning Li, Can Zhou

Huazhong University of Science and Technology（HUST）

Part of the NIH BRAIN Initiative Cell Census Network (BICCN)

Award: U19MH114830 (Zeng) RS2

Principal Investigators – Qingming Luo and Hui Gong

Protocol

List of reagents required for the experiment

| Solution | Product number |
| --- | --- |
| Sugar | Vetec V900116 |
| Paraformaldehyde (PFA) | Sigma 30525-89-4 158127 |
| Phosphate Buffered Solution (PBS) | Sigma P3813-10PAK |
| Absolute Ethanol | GB/T 678-2002 10009218 |
| Lowicryl HM20® resin | 15924A-225；159248 |
| Acetic Acid | Sigma 64-19-7 338826 |
| Sodium Carbonate | Sinopharm Chemical Reagent 10019260 |
| Propidium iodide | Sigma P1304MP |

Lowicryl HM20® resin filtration

- Add Al2O3 powder to a clean glass column

- Slowly pour the monomer E solution or cross-linker D of Lowicryl HM20® resin into the glass column and slowly introduce nitrogen

- The filtered monomer E solution and cross-linker D are sealed in a brown bottle and stored at room temperature

Biological tissue rinsing

- Prepare 0.01M PBS buffer solution and pre-cool the solution at 4 ° C environment

- Put the mouse brain into a 50 ml centrifuge tube

- Rinse the mouse brain with pre-cooled PBS solution 3 times for 2h, 2h and 12h. The rinsing process should be carried out at 4 ° C in the dark

Biological tissue dehydration

- Prepare 50, 75, and 95% (vol/vol) graded ethanol solutions in distilled water. For example, for 50% ethanol solutions, add 1 volume absolute ethanol to 1 volume distilled water in a centrifuge tube

- The mouse brain is placed in a 50 ml centrifuge tube and dehydrated with 50% ethanol solution for 1 hour

- The mouse brain is dehydrated for every 2 hours in 75% and 95% ethanol solution

- The mouse brain is dehydrated in absolute ethanol 3 times for 2 hours each time, and all dehydration steps were carried out at 4 ° C in the dark

Biological tissue resin penetration

- Placed 0.048g of AIBN crystal particles, 5.25g crosslink D and 24.75g monomer E solution in a 60ml brown glass bottle

- Slowly stir the mixed solution on a magnetic stirrer for about 5-10 minutes until the AIBN crystal particles are completely dissolved to form resin working solution and stored it at 4 ° C in the dark

- Prepare 50% and 75% (wt/wt) graded resin solutions in absolute ethanol. For example, for 50% resin solutions, add 1 weight absolute ethanol to 1 weight resin working solution in a brown glass bottle, and stored at 4 ° C

- Dispense the prepared resin working solution into 3 brown glass bottles, 5 g each, and store at 4 °C

- The dehydrated mouse brain is pre-permeated for 2 hours in 50% and 75% graded resin solution respectively at 4 ° C in the dark

- The pre-permeated mouse brain was transferred to the 3 brown glass bottles with resin working solution for 2 h, 24 h at 4 ° C in the dark

Biological tissue acid quenching

- Pipette 5 g resin working solution into a brown glass bottle, add acetic acid to generate the CR-quench solution, and store it at 4 °C in the dark

- The infiltrated mouse brain was transferred to a CR-quench solution and stored at 4 ° C for 14 h in the dark

Biological tissue resin polymerization

- Place the opened 000# capsule on the capsule hole of the sample holder

- The mouse brain olfactory bulb is facing downward, and the ventral side is slightly tilted into the gelatin capsule to ensure that the olfactory bulb is in the center of the capsule bottom, and the brain is nearly perpendicular to the capsule bottom

- Add about 1 ml resin to the capsule and place it in a vacuum drying oven

- Adjust the oven temperature to 37 ° C for 20 hours

- Finally adjust the oven temperature to 50 °C for 4 hours, the sample polymerization is completed

- Turn off the oven, open the intake valve, open the oven door and take out the sample.

Whole brain imaging

- Fix the sample with the sample holder and install the sample holder in the sample cell.

- Align the diamond knife in BioMapping 5000* with the sample.

- Prepare 0.05mol/L sodium carbonate with 1 ug/ml propidium iodide in PBS as the immersion solution during imaging.

- Add the immersion solution into sample cell to completely immerse the sample.

- Cut the sample surface into flat.

- Run the data acquisition program in BioMapping 5000 with the appointed parameters.

- Upload the data after the data acquisition.

*BioMapping 5000, a type of fluorescence Micro-Optical Sectioning Tomography Instrument（fMOST）