SCW Weekly Processing Supplies

Processing:

- Filter manifold/vacuum pump

- 4 - Square PC 500mL bottles (acid wash #4)

- 500mL coated glass filter flask w/filter cup (acid washed)

- 1L tripour container

- 6 – GF/f filters

- 2 – Polycarbonate filters (10um)

- 1 – Poretics filter (0.2um)

- Forceps

- 50mL saline ethanol (for WCP)

  - Mix 45mL of 80% EtOH with 5mL of 25X SET

Pipettes:

- 1 – 100mL

- 1 – 50mL

- 2 – 25mL

- 1 – 10mL

- 2 – 5mL

- Pipette bulb

- Lugols transfer pipet (in dead cabinet)

- Dead pipette bulb (in dead cabinet)

Samples:

- 6 – 2mL cryovials (DAP, FCM, dDA)

- 1 – 2mL bead beater vial (DNA)

- 5 – chl tubes/caps (CHL1-2)

- 2 – 50mL Corning tubes (UREA, NH4)

- 1 – 20mL plastic scintillation vial (Nutrients)

- 1 – 20mL glass scintillation vial (0.8% PFM)

- 2 – 100mL glass French Square bottles (FORM, LUGOLS)

- 1 – WCP rack (7x15mL, 1x50mL) (WCP)

- 1 – CDPH plastic bottle (in D436 dead cabinet)

SCW Weekly Processing Procedure

**Make sure sample is well mixed before pouring out of bottle and before sampling out of tri-pour.**

DNA

- Add 150 mL whole water to bottle #1

- Filter WW through a 0.2 um poretics filter

- Place filter into the bead beater vial

- Store DNA filters in -80o freezer (Box label - KUDELA SCW DNA#)

DAP#

- Add 250 mL whole water (WW) to PC bottles

- Filter WW through a GF/f filter

**Collect filtrate from bottle #4 in filter flask (both acid washed beforehand)

- Place each filter into a cryovial (or plastic tube) – ONE filter per vial

- Store DAP filters in -80o C freezer (Box label - KUDELA SCW DAP#)

Chlorophyll a

- Filter 25 mL whole water through a GF/f (perform twice on separate filters)

- Filter 25 mL whole water through a 10um PC (perform twice on separate filters)

- Place each filter into a glass chl tube

- Add 7 mL of 90% acetone to each tube

- Store in Kudela Lab freezer (-20 o C) and run samples within 24 hrs

Urea/Ammonium/Nutrients

- Put on gloves

- **Use filtrate collected in DAP procedure

- Fill one 50mL tube with 25 mL of filtrate (Ammonium) and one tube with 20 mL of filtrate (Urea)

- Rinse plastic scintillation vial with filtrate 3 times.

- After 3rd rinse fill vial with ~20 mL of filtrate (Nutrients)

- Parafilm the tubes and vial

- Store in Kudela Lab freezer (-20 o C)

dDA

- **Use filtrate collected in DAP procedure

- Pour 1.8 mL into a cryovial, process same day OR store at -80oC

Whole water archive*

- Pipet 100 mL WW into each French square bottle

- Add 10 mL of 37% formaldehyde to one (FORM)

- Add 2 mL of acid Lugols to the other (LUGOLS)

- Store in cold room (Box labels - KUDELA SCW WW FORM and KUDELA SCW WW LUGOLS)

FCM (bacteria)*

- Pipet 1.8 mL WW into cryovial

- Add 2 drops of 4% paraformaldehyde

- Store in -80oC freezer (Box label - KUDELA SCW Bacteria/FCM#)

Net tow archive*

- Pipet 16 mL of the net tow into the glass scintillation vial

- Add 4 mL of 4% paraformaldehyde

- Store in cold room (Flat label - KUDELA SCW NET PARAFORM archive)

CDPH archive*

- Add 100 mL of net tow to the pre-charged CDPH bottle

- Label with lab tape and leave in D436 fume hood

*Wear gloves and work under fume hood (D436) when working with preservative.