Slice Culture Media

- Scope and Applicability: Slice Prep Media used for human or mouse slice culture.

- Materials:

  - MilliQ H2O

  - MEM Eagle medium, Hanks salts + 2 mM L-glutamine (Sigma M4642 or equivalent)

  - Ascorbic Acid (Sigma A7506 or equivalent)

  - HEPES (VWR H3537 or equivalent)

  - NaHCO3, 892.75 mM solution (840 µl) (Gibco 25080-094 or equivalent)

  - D-glucose (563 µl) (Gibco A24940-01 or equivalent)

  - penicillin/streptomycin 5,000/L (Gibco 15070-063 or equivalent)

  - GlutaMAX I (Gibco 35050-061 or equivalent)

  - Calcium chloride dehydrate (Sigma C3306 or equivalent)

  - Magnesium sulfate heptahydrate (Sigma M1880 or equivalent)

  - Insulin from bovine pancreas, 10 mg/ml (Sigma I0516 or equivalent)

  - Horse serum-heat inactivated, 20 ml aliquots (Gibco 26050088 or equivalent)

  - 500 ml graduated cylinder

  - 500 ml beaker

  - Pipettor

  - 5 ml Serological pipette

  - P200 pipetteman

  - P200 pipette tips (Rainin GPL200F or equivalent)

  - P1000 pipetteman

  - P1000 tips (Rainin GPL1000F or equivalent)

  - 250 ml sterile filter unit 0.22 µm PES (Sigma S2GPU02RE or equivalent)

  - Weigh paper

  - Weigh boats

  - Disposable plastic spatulas

  - Stir bar

- Equipment:

  - Vacuum pump (Gast DOA-P104-AA or equivalent) with Tygon tubing

  - Osmometer (Fiske 210 or equivalent)

  - pH Meter

  - Stir plate

  - Calibrated balance

  - Incubator at 35⁰C

  - Water bath

- Safety:

  - Nitrile Gloves

  - Eye protection

  - Lab coat

  - Sterile hood

- Output:

  - 242 ml of Slice Culture Media, pH 7.2-7.3, Osmolarity 300-305 mOsm/kg

- Reference Documents:

  - N/A

Warning:  Personal Protective Equipment (PPE) should be used at all times while operating this protocol. If you are unsure what PPE you should be using, see your immediate supervisor.

- Setup:

  - Obtain a 500 ml beaker.

  - Obtain a stir bar and place it in the container.

  - Thaw premeasured (20-80 ml) heat-inactivated Horse serum in water bath.

- Methodology/Procedures:

  - Determine the required amount of Slice Culture Media to prepare. Table 1 lists the reagents quantities required to make 121 ml, 242 ml, 363 ml or 484 ml of slice culture media.

| Reagent | 121 ml | 242 ml | 363 ml | 484 ml |
| --- | --- | --- | --- | --- |
| MilliQ H2O | 95 ml | 190 ml | 285 ml | 380 ml |
| MEM Eagle medium, Hanks salts + 2 mM L-glutamine | 840 mg | 1.68 g | 2.52 g | 3.36 g |
| Ascorbic Acid | 18 mg | 36 mg | 54 mg | 72 mg |
| HEPES | 3 ml | 6 ml | 9 ml | 12 ml |
| NaHCO3, 892.75 mM solution | 1.68 ml | 3.36 ml | 5.04 ml | 6.72 ml |
| D-glucose | 1.126 ml | 2.25 ml | 3.39 ml | 4.5 ml |
| penicillin/streptomycin 5,000/L | 500 µl | 1 ml | 1.5 ml | 2 ml |
| GlutaMAX I | 250 µl | 500 µl | 750 µl | 1 ml |
| 2 M Calcium chloride dihydrate | 50 µl | 100 µl | 150 µl | 200 µl |
| 2 M Magnesium sulfate heptahydrate | 100 µl | 200 µl | 300 µl | 400 µl |
| Insulin from bovine pancreas, 10 mg/ml | 50 µl | 100 µl | 150 µl | 200 µl |
| Horse serum-heat inactivated | 20 ml | 40 ml | 60 ml | 80 ml |

Table 1. Reagents required to prepare Slice Culture Media

  - To make 242 ml of Slice Culture Media:

    - Using a graduated cylinder, measure 190 ml of MilliQ Water. Add the water to an appropriately labeled container containing a stir bar.

    - Place the container on a stir plate and begin stirring.

    - Using a calibrated balance, weigh out 1.68 g of MEM Eagle medium, Hanks salts + 2 mM L-glutamine. Slowly add weighed medium to the container while stirring.

    - Using a calibrated balance, weigh out 36 mg of Ascorbic Acid. Slowly add weighed ascorbic acid to the container while stirring.

    - Move container into the sterile hood to continue adding liquid reagents.

    - Using a serological pipette or P1000, add 6 ml of HEPES to the container. The solution should turn a pink color.

    - Using a serological pipette or a P1000, add 3.36 ml or 840 µl four times of NaHCO3, 892.75 mM solution to the container.

    - Using a serological pipette or P1000, add 2.25 ml or 750 µl three times of D-glucose to the container.

    - Using a P1000 pipette, add 1 ml of penicillin/streptomycin 5,000/L to the container.

    - Using a P1000 pipette, add 500 µl of GlutaMAX I to the container.

    - Using a P200 pipette, add 200 µl of 2 M MgSO4 to the container.

    - Using a P200 pipette, add 100 µl of 2 M CaCl2.2H2O to the container.

    - Using a P200 pipette, add 100 µl of Insulin from bovine pancreas, 10 mg/ml to the container.

    - Pour 40 ml of heat inactivated Horse serum into the container. Use a P200 to get remaining liquid in the tube and add to container.

    - Continue stirring until all the chemicals are fully in solution.

    - Using a calibrated pH meter, measure the pH of the slice culture media. Adjust the pH to 7.2-7.3 using 1 M Tris base.

      - Note: pH will equilibrate in the incubator over 24 hours.

    - Using a calibrated Osmometer, measure the osmolarity of a 10 µl sample of the media.

      - If the osmolarity is not 300-305 mOsm, recalibrate Osmometer and retest.

      - If the osmolarity is still out of range, you may need to remake the media.

    - Filter the slice culture media through a Millipore 250 ml 0.22 µm filter system in the hood.

      - Using Tygon tubing, attach the Millipore filter system to the Gast vacuum pump. Turn on the pump.

      - Label the bottle with reagent name, date, and preparer’s initials. Slice culture media expires two weeks from date of preparation. Do not use expired slice culture media.

      - Place in incubator at 35⁰C

        - Note: Slice culture media must be made 3 days prior to use.

        - Note: Slice culture medium expires after 2 weeks when stored at 35⁰C.

- Take Down:

  - Spray down hood with 70% EtOH.

  - Wash the stir bar with MilliQ Water.

  - Place all used beakers and graduated cylinders in the dirty bins.